## genset
Manufacturer	Vendor	Model	Price	Capacity	weight	Cooling	Max Load	Engine	Cylinder/RPM	Dimensions	Decibels	Questions	URL

Fisher Panda		4200	$10,600.00	4.1 KW	230	Heat Exchanger	34 Amp	Farryman W18	1/3000	21Lx15Wx21H	54@7m
Fisher Panda		6000	$12,300.00	5.4KW	350	Heat Exchanger	50 Amp	Kubota Z-482	2/2800	24Lx18Wx24H	52@7m

Northern Light	Blue Water	M673LD2	$8,026.00	5.5KW	440	Heat Exchanger	50 Amp	Lugger L673L	3/1800	32.5Lx21Wx22H			http://www.bluewatershipsstore.com/detail.aspx?ID=145

Onan		5.0/MDKBH	$8,500.00	5.5 KW	365	Heat Exchanger	41 Amps	Cummins	2/2900	26Lx20Wx20.5H	71		http://www.cumminsonan.com/marine/products/diesel

Nexgen	Hirschefield	UCM1-3.5	$5,985.00	3.5 KW	200	Heat Exchanger	30 Amps	Kubota	1/2800	30Lx18Wx16.5H			www.nextgenerationpower.com
Nexgen	Hirschefield	UCM2-5.5	$7,185.00	5.5 KW	270	Heat Exchanger	46 Amps	Kubota Z-482	2/2800	25.5Lx20Wx21H		1,2, 3, 4	www.nextgenerationpower.com

Farryman		1372	$6,600.00	4.3KW	133 lbs	Raw Water	38 Amps	Farryman Diesel	1/3600	32Lx16Wx20H			http://www.centralmainediesel.com/order/4300NE.asp?page=4300NE

Kohler		6 EOD	$8,661.00	6KW	440	Heat Exchanger	50 Amp	Yanmar 3TNE68	3/1800	29Lx19.8Wx22.2H	71		http://www.kohlerpower.com/onlinecatalog/pdf/g2044.pdf

Phasor		K3-5.5	$8,000.00	5.5KW	385	Heat Exchanger	46 Amps	Kubota 722E	3/1800	35Lx18Wx22H

Entec West	Entec West	EW-4200-D	$7,125.00	4.2	234	Heat Exchanger	35 Amps	Farryman 18W	1/3600	24Lx16Wx20H	63db@1m	5	quote was provided

Westerbeke	Norwall	4.0 BCD	$8,200.00	4	358	unknown	35 Amps	Westerbeke	3/1800	29Lx15Wx21H	sound shield?		http://www.marinespecialists.com/westerbeke/Generators/4-2BCDT/Technical.htm

MasterVolt		Whisper 6	$14,000.00	6KW	392	Heat Exchanger				26LX19.5WX21.7H			http://www.mastervolt.com/view_product.php?lang=2&section=Marine&prggr_id=1015&prg_id=1078&pro_id=5042

Note: Green highlight indicates quote received

Questions:
1: What is the 10 amp charger option?
2: What model Kubota is being used?
3: independent decibel measuement available?
4: Is your sound shield forced air ventilated?
5: With electric water pump option, OK to get AC driven water pump?